## Bus
BusNumber | Station Name | VoltageKV | Installed Capacity | Q_step_MVAr
101 | NUC-A | 21.6 | 800 | 50
102 | NUC-B | 21.6 | 700 | 50
152 | MID500 | 500 | 1000 | 50

## Contingency
Sl No | Type | FromNumber | ToNumber | ID | Contingency
1 | Transformer | 101 | 151 | 1 | 21.6/500 kV NUC-A - NUCPANT ICT-1 | This information is Optional
2 | transformer | 102 | 151 | 1 | 21.6/500 kV NUC-B - NUCPANT ICT-1
3 | Line | 152 | 202 | 1 | 500 kV MID500 - EAST500 LINE
4 | Line | 151 | 152 | 1 | 500 kV NUCPANT - MID500 LINE-1

## SynCon
Candidate | CandidateBus | Cost | MBASE_MVA | QMAX_MVAr | QMIN_MVAr | Xsource_pu | Pgen | Pmax | Pmin | MachID
SC01 | 101 | 1 | 350 | 300 | -300 | 0.25 | 0 | 0 | 0 | Y1
SC02 | 102 | 1 | 350 | 300 | -300 | 0.25 | 0 | 0 | 0 | Y1
SC03 | 151 | 1 | 350 | 300 | -300 | 0.25 | 0 | 0 | 0 | Y1
SC04 | 152 | 1 | 350 | 300 | -300 | 0.25 | 0 | 0 | 0 | Y1

## MVA_Deduction
BusNumber | Station Name | VoltageKV | MVA Capacity | Percentage Deduction
101 | NUC-A | 21.6 | 800 | 0 | This sheet / information is Optional (for detailed analysis)
102 | NUC-B | 21.6 | 700 | 0
152 | MID500 | 500 | 500 | 0